ORDINANCE NO. 09-37
AN ORDINANCE AMENDING THE CODE OF ORDINANCES OF THE CITY OF TEXAS CITY, CHAPTER 122 (UTILITIES), BY AMENDING ARTICLE II, SEWERS AND SEWAGE DISPOSAL, DIVISION 3, GREASE TRAP AND GREASE INTERCEPTOR PROGRAM, SECTION 122.91, INSTALLATION OF GREASE TRAP/INTERCEPTORS COMPLIANCE; PROVIDING FOR THE REPEAL OF ALL ORDINANCES IN CONFLICT THEREWITH; PROVIDING A SEVERABILITY CLAUSE; DISPENSING WITH THE REQUIREMENT FOR READING THIS ORDINANCE ON THREE (3) SEPARATE DAYS; AND PROVIDING THAT THIS ORDINANCE SHALL BECOME EFFECTIVE FROM AND AFTER ITS PASSAGE AND ADOPTION AND PUBLICATION BY CAPTION ONLY IN THE OFFICIAL NEWSPAPER OF THE CITY.
______________________________________________________________________________

WHEREAS, the City of Texas City, Texas, seeks to amend The Code of Ordinances of the City of Texas City, Chapter 122 (Utilities), by amending Article II. Sewers and Sewage Disposal, Division 3, Grease Trap and Grease Interceptor Program, Garbage, Section 122.91, Installation of Grease Trap/Interceptors Compliance.

NOW, THEREFORE, BE IT ORDAINED BY THE CITY COMMISSION OF THE CITY OF TEXAS CITY, TEXAS:

SECTION 1:
That The Code of Ordinances of the City of Texas City, Texas, Chapter 122 (Utilities), Article II. Sewers and Sewage Disposal, Division 3, Grease Trap and Grease Interceptor Program, Garbage, Section 122.91, Installation of Grease Trap/Interceptors Compliance is amended to add the following information:

“a)
New or expanded Facilities – Food processing facilities, food service facilities, or multi-dwelling units which are newly proposed or constructed, or existing facilities which will be expanded or renovated to include a food service facility, (where such facility did not previously exist), shall be required to design, install, operate and maintain a grease trap/interceptor in accordance with locally adopted plumbing codes or other applicable ordinances.  Grease traps/interceptors shall be installed and inspected by the POTW prior to issuance of a certificate of occupancy.
b)
Existing Facilities – Existing grease traps/interceptors must be operated and maintained in accordance with the manufacturer’s recommendations and in accordance with these Model Standards, unless specified in writing and approved by the POTW.

c)
Sampling Port – All new and renovated food preparation facilities shall construct adequate sampling port at each grease trap.  Ideally, the sampling port shall be a specifically designed exterior structure, constructed on the effluent pipe of the trap.  This structure shall result in a free-falling liquid, so that a sample bottle can be held under the flow to capture a sample.  FOG samples should represent the worst case scenario.  The worst case scenario (peak flow) is the point at which FOG removal equipment is most likely to fail, and FOG loading of the collection system will occur.  The goal of the equipment is to remove FOG even at peak flow; therefore, sampling needs to occur at peak flow to ensure that the equipment is adequate.  Frequency of sampling is determined by the need for data.  When setting a monitoring schedule to ensure that FOG or temperature limits are being met, and the compliance history of each facility (the number of blockages or other problems caused by the facility, how often the facility pumps out its grease trap or cleans its interceptor).  FOG sampling may be scheduled and sampled by the POTW as part of compliance monitoring on an unannounced basis.  The POTW will send samples to an approved laboratory.  Cost for all FOG testing ordered by the POTW shall be the responsibility of the establishment.  All test results shall be available to the establishment.

SECTION 2: It is hereby declared to be the intention of the City Commission that the sections, paragraphs, sentences, clauses and phrases of this Ordinance are severable. 

SECTION 3: That it is further provided that, in the event any section, clause, sentence, paragraph or part of this Ordinance shall be for any reason adjudged by any court of competent jurisdiction to be invalid, such invalidity shall not affect, invalidate, or impair the remainder of this Ordinance.

SECTION 4: That all ordinances or parts of ordinances in conflict with the provisions of this Ordinance are hereby repealed.

SECTION 5:  That the Charter requirement for reading this Ordinance on three (3) separate days has been dispensed by a majority vote of all members of the City Commission.


SECTION 6:
That the City Secretary is hereby directed, in accordance with Article III of the City Charter, to publish this ordinance, by caption only, in one issue of the official paper, and obtain proof of such publication made by the printer or publisher of such paper. An affidavit made by said printer or publisher before some officer authorized by law to administer oaths, and filed with the person performing the duties of city secretary shall be prima facie evidence of such publication and promulgation of such ordinance in courts of the state.  The ordinance so published shall take effect, and be in force, from and after ten days after publication thereof, unless otherwise expressly provided.

PASSED AND ADOPTED this 2nd day of December, 2009.








____________________________








Matthew T. Doyle, Mayor








City of Texas City, Texas

ATTEST:





APPROVED AS TO FORM:

____________________________


____________________________
Pamela A. Lawrence




Ronald F. Plackemeier
City Secretary





City Attorney
1
PAGE  
3
L: Ord 09-37 Amend Ch. 122 Art II, Div.3
 Grease Trap and Interceptor


