Mayor’s Approval Letter

June 28, 2011
Rimrock II, LLC

3045 King Avenue West

Billings, MT 59102

Montana Sapphire, LLC

P.O. Box 1320

Hamilton, MT 59840 

Dear Applicants:

On June 27, 2011, the Billings City Council conditionally approved the preliminary plat of Amended Lot 9-A, Block 1, Montana Sapphire Subdivision, subject to the following conditions of approval:
1. To ensure the provision of easements and minimize effects on public health and safety, the subdivider shall work with the City Engineering Division and the private utility companies to determine suitable locations for utility easements, if necessary.  These easements shall be shown on the final plat.
2. To mitigate effects on local services, the one-foot no-access easement along the Montana Sapphire Drive frontage of Lot 9A-5 shall be reduced to 100 feet from the east property line on the final plat.
3. To mitigate effects on local services, Section III.E.3. of the Subdivision Improvements Agreement (SIA) which references the future access off Shiloh Road shall be amended to include the following: “This shall be an ingress driveway access only.  Design details for the ingress and Shiloh Drain crossing shall be reviewed and approved separately by the City Engineer’s Office.  The Shiloh Drain can only be piped for this access and the culvert shall be steel or reinforced concrete.”
4. To mitigate effects on local services, Section VI.A. of the SIA shall be amended to include the following: “A meter vault shall be placed on each water service within Lot 9A-5 and near the east property line if the water service is more than 250 feet from the curb valve to the proposed building locations. These meter values shall be installed at the time each lot is developed.”  Section VI.B. of the SIA shall be amended to include: “All five lots will be service by one sanitary sewer service line administered by a special service district as allowed under Article 13-900, BMCC.”
5. Minor changes may be made in the SIA and final documents, as requested by the Planning, Legal or Engineering Departments to clarify the documents and bring them into the standard acceptable format.
6. The final plat shall comply with all requirements of the City of Billings Subdivision Regulations, rules, regulations, policies, and resolutions of City of Billings, and the laws and Administrative Rules of the State of Montana.
Should you have questions please contact the Juliet Spalding at (406)247-8684 or by email at spaldingj@ci.billings.mt.us .

Sincerely,

_____________________________

Thomas W. Hanel, Mayor
Pc:  Pat Davies, PE, Sanderson Stewart
PAGE  
Page 1 of 2

