	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
September 6, 2006
RE:
Avelar Estates Subdivision – Pct. 4

Preliminary Approval 
Avelar Estates is a one (1) lot subdivision located on the North side of Curry Road, approximately 444.80 feet East of Sharp Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on August 08, 2006.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Curry Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Ricardo Caballero, Jr. and approved by the Hidalgo County Environmental Health Department.  

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing two (2) inch waterline on Curry Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on September 05, 2006 subject to staff comments and future recommendations by Planning and other departments.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


