	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
September 6, 2006
RE:
Buchalter Subdivision – Pct. 2

Preliminary Approval 
Buchalter is a two (2) commercial lot subdivision located on the North side of Ridge Road, approximately 1584 feet East of Alamo Road.

The proposed Subdivision lies within the City of Alamo E.T.J.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on December 12, 2005.  The proposed subdivision lies within Zone “B” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Ridge Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by the City of Alamo.

Water Services will be provided by the City of Alamo.  There is an existing six (6) inch waterline on Ridge that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on September 05, 2006 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Alamo.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


