	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
September 6, 2006
RE:
Leal Estates Subdivision – Pct. 3

Preliminary Approval 
Leal Estates is a two (2) lot subdivision located on the West side of Bentsen Palm Drive, approximately 600 feet North of Mile 3 North Road.

The proposed Subdivision lies within the City of Mission E.T.J.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on January 30, 2006.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate five (5) feet on Bentsen Palm Drive of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by O.S.S.F.  Soil Analysis were conducted by Joseph Sai, P.E. and approved by the Hidalgo County Environmental Health Department.  

Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing six (6) inch waterline on Bentsen Palm Drive that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on September 05, 2006 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Mission.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


