	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
September 20, 2006

RE:
Cielo Rojo Subdivision – Pct. 1

Final Approval 
Cielo Rojo Subdivision is a two (2) lot subdivision located at the Northwest corner of Mile 1 ½ East Road and Mile 4 North Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on August 01, 2006.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate ten (10) feet on Mile 4 North Road and five (5) on Mile 1 ½ East Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Isaac Mata and approved by the Hidalgo County Environmental Health Department.  One septic tank has been installed, inspected and can be expected to function satisfactorily.

Water Services will be provided by Military Highway Water Supply Corporation.  There is an existing six (6) inch waterline on Mile 4 North Road that will serve as the primary source of water for the proposed development.

The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on August 22, 2006.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  

The Hidalgo County Advisory Board convened and recommended Final Approval on September 19, 2006.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


