	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
October 4, 2006
RE:
El Monte Commercial Subdivision – Pct. 3

Preliminary Approval 
El Monte Commercial is a eight (8) commercial lot subdivision located on the Northeast corner of Tabledo Road and El Pinto Road.

The proposed Subdivision lies within the City of Sullivan E.T.J. 

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on September 26, 2006.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on El Pinto Road and ten (10) feet on Tabledo Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose A. Gonzalez and approved by the Hidalgo County Environmental Health Department. 

Water Services will be provided by La Joya Water Supply Corporation.  There is an existing six (6) inch waterline on El Pinto Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary  Approval on October 03, 2006 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Sullivan.
[image: image2.png]Name of Subdivision:

LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

El Monte Commercial Subdivision (1* Review) Page

1-1

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item
Log #

Description of Item

Date

Logger’s
Initials

A

15T SHEET COMMENTS: Site plan required for lots 1, 2, & 3 showing
proposed parking lot, office, detention area, and OSSF locatlon

09-27-06

RES

B

50' x 50' corner clip is required at intersection of El Tabledo Road & El
Pinto Road.

[13

(13

C

PLAT NOTES:

3. Please see Title M Section 1.5(a) of the County Subdivision rules for
proper wording for this note.

6. End of note should read sheet No. “2”

8. The OSSF shall be for commercial use only, not domestic.

10. This note is not required.

14. Please add “and proposed improvements are constructed in
accordance with County and State requirements”.

16. Please change “should” to ““shall” and add “A written approval from
said gas company shall be provided approving the proposed
improvements on lots 1, 2, & 3 prior to the County issuing a Building
and/or Development Permit”. This note will address any concerns
regarding the construction of a parking lot or detention area over the gas
easement.

17. Add note stating that “Additional detention areas shall be provided if
it is determined during building permit stage that more impervious area is
being proposed than original considered by the plat engineer. Sheet No.
2 of this plat describes the drainage and methodology used to determine
future impervious areas for this development by the plat engineer”.

(13

(19

Please correct Index to Sheets, sheet No. “2”

(1%

13

Please correct typographical error within metes and bounds.

(13

(13

2% SHEET COMMENTS: Please provide drainage report on second
sheet. Please incorporate note 17 above into drainage report. Please
provide a description within your drainage report as to how you
established your future coefficient for runoff calculations. This will
assist our department in evaluating whether or not additional detention
will be required during the building permit stage.

[13

(13

The detention swales should be separated to avoid concentration of water
at its lowest point.

(13

(13

Preliminary approval required prior to construction. Plat is subject

to future review and comments by Planning, Health, Right of Way,
and HCDD No. 1 prior to receiving consideration for final approval.

(13

(13





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


