	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
October 18, 2006

RE:
Goolie Meadows Phase I Subdivision – Pct. 1

Preliminary Approval 
Goolie Meadows Phase I is a ninety six (96) lot subdivision located approximately 1699 feet West from Goolie Road on the South side of Earling Road.

The proposed Subdivision lies within the City of Donna E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on July 28, 2006.  The proposed subdivision lies within a Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate forty (40) feet on Earling Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis Test were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on Goolie Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary  Approval on October 17, 2006 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Donna.

[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Goolie Meadows Phase I (1* Review)

Page

This form lists the documents lacking during the process of seeking subdivision approval. The County official receiving a
document should upon its receipt fill out and initial an entry for the items lacking and then write the log number on the
document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A | I’T SHEET COMMENTS: Please provide discharge permit for drainage ditch. Please | 10-11-06 RES
provide existing ditch right of way or easement.
B | Please provide adjacent landowner information. “ “
C | PLAT NOTES: : “ “
Note 1. Please confirm flood zone and map used to establish flood zone. Drainage
report on third sheet has a different map and zone..
Note 6. Please provide permanent benchmark with datum.
D | Location map does not appear to be to scale.
E | Please provide name of officer under signature block for Owner's dedication
F | Please correct the wording on Planning & Zoning signature block and move up
under Mayor signature block.
G | 2"’ SHEET COMMENTS: Engineering report would work if you were doing the «“ «
entire development at this time. The beginning of your description is written that way.
Please revise the report to reflect the extension of the waterline within the proposed 50'
easement. Please provide documentation on said easement. Please make sure the
corrections are incorporated into the Spanish description.
H | Please label off-site easement with bearings and distances. « «
I Correct typographical errors — see red line of plat «“ «“
J | 3“ SHEET COMMENTS: See comment under C « «
K | Consider the placement of inlets with pipe restrictions to allow water to drain from the «“ «
swale into the storm sewer system.
L | Preliminary approval required prior to construction. Plat is subject to future review and comments by

City, Planning, Health, Right of Way, and HCDD No. 1 prior to receiving consideration for final

approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


