	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
October 18, 2006

RE:
La Frontera Estates Subdivision Phase 2 – Pct. 1

Preliminary Approval 
La Frontera Estates Phase 2 is a forty two (42) lot subdivision located on the East side of Whalen Road, approximately ¼ mile South of Moore Road.

The proposed Subdivision lies within the City of Donna E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on July 28, 2006.  The proposed subdivision lies within a Zone “B” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate five (5) feet on Whalen Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis Test were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on Whalen Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on October 17, 2006 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Donna.

[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: La Frontera Estates Phs IT (1* Review) Page  1ofl

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A | I’ SHEET COMMENTS: staff recommends for developer to provide a 10-12-06 JRT

secondary street entrance for interconnection with internal street.

B | Provide site plans for lots 4-6 and label and dimension lot line to irrigation «“ “
esmnt.

C | Label center line of Juarez Ave. and dimension to row line. Also correct «“ «“
city of Donna new population as per 2005 census (15,846)

D | Is Donna Irrigation District No.1 the south west adjoiner? Please provide « «
size of property and legal description. ,‘

E | Provide a letter from ROW dept. stating that if the existing road ROW can “ «

be abandoned by this plat.

F | Please show total ditch ROW adjacent to the east property line where storm
drainage will discharge. (see ditch on 3 sheet)

G | As per county road (not open) on the south side of subdivision property,
label/show if it continues up to property line or further east? Does it clip
with additional HCDD#1 ditch ROW?

H | PLAT NOTES: «“ “
#2) Setbacks:

e cul-de-sac minimum front setback is 25 feet, unless city of Weslaco

approved it, or a variance was granted.

#13)see attachment for correct narrative requirement.
#14) mention on note who will be responsible for the construction of
sidewalk. ,
-> Provide a plat note mentioning that “NO ACCESS IS ALLOW FROM
JUAREZ AVE. ON TO LOTS 6, 7, 19, 20, AND 42.”
[see attachment for additional notes and correct notation]

I | METE & BOUNDS: «“ “

e 1% and 2™ callout: description does not coincide with notation
shown on drawing layout. Please label and show 30 foot county
road ROW (not open).

e Provide volume and page number for bearing accordance with LA
FRONTERA ESTATES.

J | 2"2 SHEET COMMENTS: as per engineer report don’t forget to provide «“ “
amount for each of fire hydrants and the narrative of deadline to install
water meter.

K | Mention if a letter of credit will be available for septic tanks or if the “ «“
developer will install septic tanks prior to the recording of subdivision on
sewage descripiton.

L | See attachment for new update subdivider certificate and statement.

M | Provide water line crossing permits from ROW dept. and provide flange
elevation for all fire hydrants.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


