	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator
DATE:

November 8, 2006

RE:
Amended Buen Gusto Subdivision – Pct. 1

Final Approval 
Amended Buen Gusto is an eighty eight (88) lot subdivision located on the North side of Ridge Road, at the intersections of Ridge Road and Border Road and Ridge Road and Whalen Road.

The proposed Subdivision lies within the City of Alamo E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on September 04, 2006.  The proposed subdivision lies within Zone “B” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate thirty (30) feet on Ridge Road and twenty (20) feet on Border Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis were conducted by Aniceto Izaguirre and approved by the Hidalgo County Environmental Health Department.  All septic tank systems have been installed, inspected and can be expected to function satisfactorily

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Whalen that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  The Subdivision Plat is being Amended to relocate and delete utility easements.

The Hidalgo County Advisory Board convened and recommended Final Approval on November 07, 2006.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


