	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
November 8, 2006

RE:
Amistad Subdivision – Pct. 3

Preliminary Approval 
Amistad is a twenty three (23) lot subdivision located on the West side of Bentsen Palm Drive, approximately 2600 feet South from FM 492 intersection.

The proposed Subdivision lies within the City of Mission E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on September 22, 2006.  The proposed subdivision lies within a Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate five (5) feet on Bentsen Palm Drive of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis Test were conducted by Isaac Mata and approved by the Environmental Health Department.  

Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing eight (8) inch waterline on Bentsen Palm Drive that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary  Approval on November 7, 2006 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Mission.

[image: image2.png]Name of Subdivision:

LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Amistad 2™ Review)

Page

lofl

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item
Log

Description of Item

Date

Logger’s
Initials

T SHEET COMMENTS: Provide complete adjoiner information as per;
name, doc.#, original subdivision tract, lot and block number.

11-02-06

JRT

Provide break line to show distance from NE corner of subdivision up to the
intersection of FM 492.

Provide ot site plans for 4, 5, 21, and 22.

Ol o wm| |

PLAT NOTES:

#2) provide new and correct plat note (see attachment)

#5) label side set back to read “ or esmnt which ever is greater”

#6) provide correct plat note requirement for utility esmnt.

#9) provide total detention run off calculation.

#14) Provide correct plat note requirement for off-street parking note
#21) provide correct plat note requirement for Temp turn around.

METES & BOUNDS:

2P Callout: verify bearing and label describe monument.

+ 3" Callout: show monument on drawing as describe

4™ Callout: verify bearing it does not coincide with drawing,

m

«

Provide new city of Mission population as per 2005 census. (60,146)

w

Correct acre on subdivider certificate and update city of mission
certification.

«

@

2™ SHEET COMMENTS: Provide new updated subdivider certificate and
statement. (refer to attachments from past subdivision reviews)

w

m

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


