	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
November 8, 2006

RE:
The Estates of Santa Cruz Ranches Subdivision – Pct. 4

Final Approval 
The Estates at Santa Cruz Ranches is an eleven (11) lot subdivision located at the Southwest corner of Mile 22 1/2 North Road and Brushline Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on June 28, 2006.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

No dedication is required, existing right of way meets County standards.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  All septic tank systems have been installed, inspected and can be expected to function satisfactorily.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on Mile 22 ½ North Road that will serve as the primary source of water for the proposed development.

The Subdivision received Preliminary Approval on July 25, 2006.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Final Approval on November 07, 2006.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


