	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
November 8, 2006

RE:
J.R. Subdivision Phase 2 – Pct. 1

Preliminary Approval 
J.R. Subdivision Phase II is a twenty three (23) lot subdivision located on the East side of FM 1015, approximately ½ mile South of Mile 12 ½ North Road.

The proposed Subdivision lies within the City of Weslaco E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on October 6, 2006.  The proposed subdivision lies within a Zone “AE” as per FEMA’s FIRM.

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis Test were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Aminta and Alicia Drive that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary  Approval on November 7, 2006 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Weslaco.

[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: JR SUBDIVISION PHS II 3" Review Page Lofl

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A | 2% SHEET COMMENTS: Provide description of highlights of soil evaluation | 10-27-06 JRT
Teport.
B | Provide lot numbers on each lot and fire hydrant detail. “ “
C | As per engineer certification on water and sewage, please also provide total “ “
amount of 30 year letter agreement.
D | 3* SHEET COMMENTS: extend topo 500", and NOI application with storm “ «
water prevention plan.
E | Label radius for turn around and all strest curves. “ “

F | As per drainage report on community panel number mention that it was
Revised to reflect on LOMR 5-30-02 and provide correct description of flood
zone and detention area (swale are not being provide for drainage design) on
engineer certification

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


