	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator
DATE:
November 8, 2006

RE:
Jackson Village Phase 3 Subdivision – Pct. 4

Final Approval 
Jackson Village Phase 3 is a ten (10) lot subdivision located on the South side of Elsham Avenue, approximately 320 feet East of Jackson Road.

The proposed Subdivision lies within the City of Edinburg E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on September 17, 2006.  The proposed subdivision lies within Zone “B” as per FEMA’s FIRM.

Sanitary Sewer Services will be provided by the City of Edinburg.

Water Services will be provided by the City of Edinburg.  There is an existing eight (8) inch waterline on Elsham Avenue that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  

The Hidalgo County Advisory Board convened and recommended Final Approval on November 07, 2006.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


