	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
November 8, 2006

RE:
Santa Cecilia Subdivision – Pct. 1

Preliminary Approval 
Santa Cecilia is a two (2) lot subdivision located on the Northwest corner intersection with FM 493 and Vetebs Road.

The proposed Subdivision lies within the City of Donna E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on April 4, 2006.  The proposed subdivision lies within a Zone “B” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Vetebs Road and twenty (20) feet of FM 493 of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis Test were conducted by Isaac Mata and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing three (3) inch waterline on FM 493 that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary  Approval on November 7, 2006 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Donna.

[image: image2.png]Name of Subdivision:

LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Page

lofl

Sansta Cecilia 2™ Review

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A | I’ SHEET COMMENTS: Provide name of north adjoining owners and 10-27-06 JRT
document #. Provide legend for all monuments describe on metes and bounds.
B | PLAT NOTES: “ “
#4) correct sheet #
C | 2 SHEET COMMENTS: Provide TxDot permits: Driveway entrance, and « «
water line crossing.
D | Correct drainage report to state “single family dwelling” « -«

‘Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


