	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator
DATE:
December 6, 2006
RE:
Celeste Michelle Subdivision – Pct. 1

Final Approval 
Celeste Michelle Subdivision is a thirty four (34) lot subdivision located on the South side of Mile 12 North Road, approximately, ¼ mile West from its intersection with Mile 2 West Road.

The proposed Subdivision lies within the City of Weslaco E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on October 21, 2003.  The proposed subdivision lies within a Zone “AE” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Mile 12 North Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan.

Sanitary Services will be provided by OSSF.  Soil Analysis Test were conducted by Isaac Mata and approved by the Environmental Health Department.  All septic tank systems have been installed, inspected and can be expected to function satisfactorily.

 Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on Mile 12 North Road that will serve as the primary source of water for the proposed development.

The Subdivision received Preliminary Approval on February 10, 2006.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Final Approval on November 07, 2006.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


