	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
December 6, 2006
RE:
Donna ISD Subdivision – Pct. 1

Preliminary Approval 
Donna ISD is a one (1) school lot subdivision located on the East side of Old La Blanca Road, approximately .12 miles South from the intersection of Mile 10 ½ North Road.

The proposed Subdivision lies within the City of Donna E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on October 16, 2006.  The proposed subdivision lies within a Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate ten (10) feet on Old La Blanca Road and twenty (20) feet of FM 493 of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by the City of Donna.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Old La Blanca Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on December 05, 2006 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Donna.

[image: image2.png]Name of Subdivision:

LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Donna ISD (2™ Review)

Page

1of1l

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials

#

A | I’" SHEET COMMENTS: provide net acres for lot 1 blk 1, and name of 11-01-06 JRT
developer on principal contact information. ~

B | As per index to sheet chart; describe every sheet provided on the set of “ “
plans that complies with title “A” plat.

C |80 foot utility esmnt need to be separate into a “drainage swale esmnt and “ “
NAWSC exclusive esmnt” as per water distribution and detention areas
shown on 2™ and 3™ sheet of 8. The same thing applies for the 50 foot
utility esmnt shown on the north property line. (refer to item log L)

D | Provide esmnt width of irrigation line together w/ doc.# shown running in “ “
an angle on the south east corner of subdivision.

E | 2"’ SHEET COMMENTS: as per topography map please provide natural | “ “
water flow arrows.

F | 3* SHEET COMMENTS: Provide TxDOT permits for driveway “ “
entrances and ROW crossing permit for water line.

G | Extend 15 NAWSC esmnt up to the west property line adjacent to Old La “ «
Blanca Rd.

H | Provide esmnt for sewer line and show on 1% sheet of the plat. Also verify “ “
if sewer line be constructed inside the 15 NAWSC esmnt (refer to redlines)

I | Tum ON all esmnt layers to confirm that all water and sewer line will be “ “
constructed inside an esmnt.

J | Please label all manholes as “sewer manholes” and provide top and flow « “
elevation to all and lift station.

K |4™ SHEET COMMENTS: Provide a drainage swale esmnt designated for “ “
detention areas separated from water line.

L | Label all conc. MH as “storm drainage manholes” and provide top and “ “

invert elevations for all inlets and MH.

Provide NOI application with certify receipt, and submit a set of plans to
ROW dept and TxDOT dept for their review and clearance.

(11

13

Provide approved drainage report by HCDD#1 on this sheet.

(13

[13

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


