	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
December 6, 2006
RE:
El Tigre No. 28 Subdivision – Pct. 3

Preliminary Approval 
El Tigre No. 28 Subdivision is a one (1) commercial lot subdivision located on the Southeast intersection of Moorefield Road and Monte Cristo Road.

The proposed Subdivision lies within the Rural Area of the County. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on November 01, 2006.  The proposed subdivision lies within a Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate ten (10) feet of Moorefield Road and twenty (20) feet on Monte Cristo Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Tests were conducted by Juan Palma and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing twelve (12) inch waterline on Moorefield Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on December 05, 2006 subject to staff comments, future recommendations by Planning and other departments and an approval letter from SWSC to detain storm water within their exclusive 15 feet easement.
[image: image2.png]LOG OF ITEMS LACKING -
DURING SUBDIVISION REVIEW

Name of Subdivision: EL TIGRE No.28 (2" Review)

Page

1of1l

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A | T SHEET COMMENTS: assign an esmnt for all drainage detention areas 11-15-09 JRT
and tie down esmnt from property line. i
B | Scale up text “CI” on the west property line of subdivision. “ “
[ C | As per location description mention the closes municipality and its population «“ “
and also mention if property falls inside any cities ETJ or if it lies on county
rural area.
D | PLAT NOTES: « «

#2) Setbacks:

o Refer Front setback to Moorefield and Monte Cristo Road.
#4) Please separate BM by labeling 1 and 2. Also provide elevation, Datum
and location description for 2™ BM.

#15) add this line at the on of note. “and proposed improvements are
constructed in accordance with county and state.”

| E | 2"° SHEET COMMENTS: Assign a “drainage swale esmnt” for all detention

arcas.

113

(13

F

Please provide letter from SWSC approving permission to detain storm water
l with in their 15 foot exclusive esmnt.

G

13

[13

Delete 18” curb cut & drain chute from drain field area. (refer to redline)

[13

(13

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


