	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
December 6, 2006
RE:
Los Novillos Phase 2 Subdivision – Pct. 4

Preliminary Approval 
Los Novillos Phase 2 Subdivision is a fifteen (15) lot subdivision located on the Southeast corner intersection of FM 3250 and Rio Grande Floral Road.

The proposed Subdivision lies within the Rural Area of the County. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on June 26, 2006.  The proposed subdivision lies within a Zone “C” as per FEMA’s FIRM.

Sanitary Sewer Services will be provided by OSSF.  Soil Tests were conducted by Raul Palma and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by the City of Edinburg.  There is an existing eight (8) inch waterline on Rio Grande Floral Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on December 05, 2006 subject to staff comments and future recommendations by Planning and other departments. 

[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Los Novillos Phase IT (3™ Review) Page 1

This form lists the documents lacking during the process of seeking subdivision approval. The County official receiving a
document should upon its receipt fill out and initial an entry for the items lacking and then write the log number on the
document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#

A | I SHEET COMMENTS: show center line of FM 3250 and Rio Grande Flora road 11-02-06 JRT

B | Provide location description on this sheet and bearing and irregular line of Save and « «
Except area. (refer to redlines)

(13 (13

C | Verify lots 1 and 15 comer clip. Drawing show that lot lines are inside road
row. Also please dimension line in between utility and access easement to
south row line of Grande floral Rd (refer to redlines)

D | Please label road as “50' private roadway easement” and cul de sacs with 50

(13 (13

radii.
E | METE & BOUNDS: “ “
e 3% Callout: verify bearing it does not coincide with drawing.
F | 2" SHEET COMMENTS: “
PLAT NOTES:

#1) Provide correct flood zone description
#6) Provide a 2" BM with in Subdivision (permanent)

G | 3 SHEET COMMENTS: subdivider certificate statement does not coincide with “ “
sewage report. Report mentions that a letter of credit will be provided when developer
certification and statement refers to septic tanks already install. Verify this and
provide correct subdivider statement and certification. (refer to attachment from last
subdivision review)

(13 (13

H | Complete Spanish version to match engineer and sewage report. Spanish engineer
report is lacking information as per; amounts of FH, dead line of mete installation, and
total amount for water facilities and 30 year letter agreement. :

I 5™ SHEET COMMENTS: Provide natural water flow arrows and a cross section « «
detail for drainage swale.

Preliminary approval required prior to construction. Plat is subject to future .
review and comments by City, Planning, Health, Right of Way, and HCDD No. 1
| prior to receiving consideration for final approval





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


