	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
December 6, 2006
RE:
Zando Subdivision – Pct. 1

Preliminary Approval 
Zando Subdivision is a two (2) lot subdivision located on the South side of Wisconsin Road, approximately 746.46 feet East of Valverde Road (FM 1423).

The proposed Subdivision lies within the City of Donna E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on June 09, 2006.  The proposed subdivision lies within a Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Wisconsin Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Tests were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing two (2) inch waterline on Wisconsin Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on December 05, 2006 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Donna.

[image: image2.png]Name of Subdivision:

LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Zando Subdivision (2" Review)

Page

1-1

This form lists the documents lacking during the process of seeking subdivision approval. The County official

receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log # | Description of Item | Date Initials
A | ST SHEET COMMENTS: provide new lot dimension for both lots from 11-15-06 JRT
canal ROW (new lot line) to the new Additional road Row on Wisconsin Rd.

B | Verify acre net and square footage for both lots because of the new lot “ «

| dimensions.

C Correct city of Donna new population as per 2005 census (15,846) and “ “
correct index to sheet chart; Spanish plat no longer being shown on 2™ sheet. |

D | PLAT NOTES: “ “
1) Rear set back should be 40’
13) Please provide 2BM to be permanent (conc. Slab w/ disk) with datum.
—>see attachment for additional plat note regarding “drainage swale esmnt”

E | 2%’ SHEET COMMENTS: Provide a drainage swale cross section detail « “
and extend topography 500’ spot elevation are acceptable.

F Please consider the natural slope of the land when establishing the location “ “
of the detention area(s)

G | Update all water meter and ossf installation date prior to prepare original “ “
Mylar for final approval and minimum amount for an OSSF is 1,000.

H | Provide notary public certification narrative on subdivider certificate and “ “

statement ( see attachment )

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


