	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
December 19, 2006

RE:
Matthew Subdivision – Pct. 4

Preliminary Approval 
Matthew Subdivision is a one (1) lot subdivision located on the East side of Valverde Road, approximately ¼ mile North of SH 107.
The proposed Subdivision lies within the Rural Area of the County. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on November 18, 2006.  The proposed subdivision lies within a Zone “AH” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate forty (40) feet on Valverde Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Tests were conducted by Ricardo Caballero, Jr. and approved by the Hidalgo County Environmental Health Department.
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Valverde Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on December 15, 2006 subject to staff comments and future recommendations by Planning and other departments. 
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

'Name of Subdivision: MATTHEW (1* Review) Page 1of1l

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A | I’ SHEET COMMENTS: label lot 1 net acres, and provide minimum 12-04-06 JRT

finish floor elevation. '

B | North east and south east corner monuments do not coincide with metes & “o “
bounds nor plat note #3. Please label each point of provide a different
monument description on legend or plat note #3.

C | PLATNOTES: “ “
#1)Setbacks:

¢ Front 50 feet or esmnt which ever is greater

e Rear 15 feet or esmnt which ever is greater
#4) provide datum and label BM on drawing as per description.
#5) include Revised to reflect LORM dated 5-17-01
#6) correct description of detention area

#16) add this line to note: “and proposed improvements are constructed in
accordance with county and state.”

*see attachment for additional plat note regarding a
special OSSF design on a designated flood zone*

D | Correct Texas Water Code on HCDD#1 certificate. “ “

E | Correct subdivision name on index to sheet chart and delete line on sheet 2 “ “
of Spanish plat note requirements their no longer require. } .

F | 2"? SHEET COMMENTS: show ossf and soil testing boring only on “ “

utility layout (water and ossf)

G | Provide a 40x40 feet pad site of dirt fill with minimum finish floor elevation “ «
on topo and drainage layout.

H | As per engineer report only show total amount on 30 year letter agreement “ “
and add the fallowing line. “as stated in the 30 year letter agreement wich
covers (water meter, meter boxes, water supply fees and all other fees associated
with water supply” and update water meter installation date.

I | Minimum amount for installing a septic tank with letter of credit is 1,000.00 “ “

J | Provide correct subdivider certificate and statement if letter of credit will be “ “
provide instead of installing OSSF before final approval and also provide
notary certificate acknowledgment.

K | All modification on engineer and sewage report needs to reflect on Spanish “ “
version.

L | Please provide exact narrative drainage report approved by HCDD#1 on 2™ “ “
sheet.

M | Please submit soil testing report from evaluator. “ «

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


