	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
December 19, 2006

RE:
Palace Station Phase 2 Subdivision – Pct. 4

Final Approval with Financial Guarantee
Palace Station Phase 2 is a thirty eight (38) lot subdivision located on the North side of Canton Road, approximately 1320 feet East of Tower Road.
The proposed Subdivision lies within the Rural Area of the County.
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on April 24, 2006.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Canton Road that will serve as the primary source of water for the proposed development.
The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code. 

The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on May 23, 2006.  The Subdivider is requesting Final Approval with Financial Guarantee.  A Cash Deposit in the amount of  $38,000.00 was submitted to the Planning Department and deposited into Escrow for Septic Tanks Account No. 06-1100-211-00-000-018-0-000.  The Cash Deposit will be used to secure the funds for the installation of thirty eight (38) septic tank systems.
The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on December 15, 2006.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


