	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Ramon Garcia

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
December 19, 2006

RE:
Shilo Subdivision No. 2 – Pct. 1

Preliminary Approval 
Shilo Subdivision No. 2 is a thirty four (34) lot subdivision located on the North side of Mile 12 ½ North Road approximately ½ mile East from Mile 5 West Road (FM 88).

The proposed Subdivision lies within the City of Donna E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on June 16, 2006.  The proposed subdivision lies within a Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate thirty (30) feet on Mile 12 ½ Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis Test were conducted by Isaac Mata and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on Mile 12 ½ Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on December 15, 2006 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Donna.

[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: SHILO No.2 2™ Review Page 1 of2

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A | T SHEET COMMENTS: label if gas esmnt is being dedicated by this 12-11-06 JRT

plat or if is existing. If Existing please provide documentation and label
who does gas line belongs to.

B | Please label easement along the south line of Lot 7 and correct labeling of « “
drainage swale esmnt on lot 6.

C | PLAT NOTES: «“ “
#2) Please add note explaining how the 20% lot depth will be calculated
on irregular lots.

#6) a permanent BM with subdivision is require (conc. Slab w/ disk)
#15) Please revise note and add “and constructed in accordance with
County and State Requirements.

#16) Correct typographical error on lot 16.

#17) Delete “A” from the sentence.

#19) add to note that: “no access is allow on to lot #1 from mile 12 %
North Rd unless lot is intended for commercial use only.

(13 149

D | As per location description please correct city of Weslaco new population
as per 2005 census (31,442) and correct LGC for the 5 mile ETJ.
(212.001)

E | Provide documentation for irrigation esmnt adjacent to the west
subdivision property line.

F | As per lot area table, provide acres size for each lot and provide lot site
plans for lots 8-19, 26-29 and lots 34.

G | 2"° SHEET COMMENTS: add the following line on the subdivider
certificate paragraph: “and will be constructed in accordance with state
and county regulations.” And provide notary certification
acknowledgment.

H | Provide HCROW dept water line crossing permit and also provide flange
elevation for all fire hydrants.

I | Clarify water line distribution description (refer to redlines) and sewage
report need to mention that septic tanks have been install.

J | Please submit the following documentations to complete reviewing the
engineer report, sewer report, and total cost estimate chart.

1. 30 year letter agreement

2. engineer cost estimate (paving, drainage, water, and OSSF)

3. Letter from HELTH Dept.

K | 3* SHEET COMMENTS: Provide topo. Elevation with in subdivision
and extend topo 500’





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


