	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge JD Salinas
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
January 09, 2007
RE:
Dollar General Subdivision - Donna – Pct. 1

Preliminary Approval 
Dollar General Subdivision – Donna is a one (1) commercial lot subdivision located on the East side of FM 493, approximately 490 feet South of its intersection with Mile 12 ½ Road.
The proposed Subdivision lies within the City of Donna E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on November 21, 2006.  The proposed subdivision lies within a Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate fifteen (15) feet on FM 493 Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF. 
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing twelve (12) inch waterline on FM 493 Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on January 03, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Donna.

[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Dollar General 1% Review Page 1of1

This form lists the documents lacking during the process of seéking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 12-09-06 JRT

As per vicinity map please provide a scale for map and show location of
property and correct city population on subdivision location description as
per 2005 census (15,846)

B | Provide name of county and state for owners and notary public «“ “
certification.

C | Label center line of FM 493 and show total existing road ROW. Also “ “
don’t show existing road side ditch and overhead power line layer on this

sheet.
D | Specify name of subdivision it should not be duplicate. “ ¢
E | Provide a monument for the NW and SW said corner of subdivision and “« «

label if set or found. Also please describe said monument on metes and
bounds (Beginning point and 3™ callout)

F | PLAT NOTES: “ “
#5) front setback should be minimum of 50 feet

#6) Provide a secondary permanent BM (conc. Slab w/ disk) with in
subdivision.

#12) a special design for septic tank is not require for this subdivision
flood zone.

#13&14) clarify the intend of this plat note requirement from MVEC
esmnt and HCDR deeds.

*see attachment for additional plat note*
G [19 [13

2"° SHEET COMMENTS:
Provide approved drainage report by HCDD#1 on this sheet

H | Staff recommends to provide two different layouts showing only water and “ «“
OSSF and TOPO and Drainage.

I | Verify if available area is adequate for trenches and amount of septic «“ «“
tanks.

J | Provide TxDOT permits for utility and driveway entrance from FM 493. “ “

K | Provide a letter from NAWSC approving drainage swale inside their “ “
exclusive esmnt.

L | Extend topo 500, provide topo elevation, natural water flow arrows, and «“ “
cross section detail for drainage swales and discharge to road side ditch.

M | Minimum REAR SETBACK for proposed building is 15 feet. Verify this “ “
adjustment will have on design.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


