	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge JD Salinas
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
January 09, 2007
RE:
Hutton No. 3 Subdivision – Pct. 3

Preliminary Approval 
Hutton No. 3 Subdivision is a one (1) commercial lot subdivision located on the West side of La Homa Road, approximately 625 feet South of  Mile 3 North Road.

The proposed Subdivision lies within the City of Mission E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on November 28 2006.  The proposed subdivision lies within a Zone “X” as per FEMA’s FIRM.

Sanitary Sewer Services will be provided by OSSF.
Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing six (6) inch waterline on La Homa Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on January 03, 2007 subject to staff comments, future recommendations by Planning and other departments, and the approval from the City of Mission.
[image: image2.png]Name of Subdivision:

LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

HUTTON No.3 3™ Review)

Page

1ofl

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A I’ SHEET COMMENTS: 12-14-06 JRT
Verify if SWSC will require a 15’ exclusive esmnt adjacent to the west
ROW line of La Homa Rd.
B 2" SHEET COMMENTS: “ “
Provide a separate drawing layout showing only utility and drainage design.
1. location of proposed and existing water services
2. location of proposed and existing sewage services
3. site plan of proposed commercial building
4. Location of proposed utility esmnt and drainage swale esmnt.
C | Is their railroad track ROW or access esmnt toward the west property line « “

where railroad cars are located.

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


