	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge JD Salinas

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
January 09, 2007

RE:
Julisa Subdivision – Pct. 4

Final Approval 
Julisa Subdivision is a two (2) lot subdivision located along the East side of Citrus Drive and approximately 2315 feet North from the intersection with Monte Cristo Road.

The proposed Subdivision lies within the City of McAllen E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on November 24, 2004.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate ten (10) feet on Citrus Drive of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Aniceto Izaguirre and approved by the Hidalgo County Environmental Health Department.  All septic tank systems have been installed, inspected and can be expected to function satisfactorily.

Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing four (4) inch waterline on Citrus Drive that will serve as the primary source of water for the proposed development.

The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on February 14, 2006.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code. 

The Hidalgo County Advisory Board convened and recommended Final Approval on January 03, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


