	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge JD Salinas
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
January 09, 2007
RE:
Urbano Villarreal Subdivision – Pct. 3

Preliminary Approval 
Urbano Villarreal Subdivision is a one (1) lot subdivision located on the West side of Bentsen Palm Drive, approximately 766 feet South of Mile 6 Road.
The proposed Subdivision lies within the City of Mission E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on November 2, 2006.  The proposed subdivision lies within a Zone “X and A” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate five (5) feet on Bentsen Palm Drive Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis Test were conducted by Raul Palma, P.E. and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing four (4) inch waterline on Bentsen Palm Drive that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on January 03, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Mission.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Urbano Villarreal a* Review) Page 1 of1

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A | P SHEET COMMENTS: provide acre net for lot 1 and on road ROW 11-17-06 JRT

only show what exists (refer to redlines).

(13

B | Trim utility esmnt line crossing Bentsen Palm Road ROW and label “
existing esmnt shown for the south ajoining subdivision Dionicio Villarreal
Subdivision.

C | As per location description provide: the nearest municipality and its
population, local government code and Precinct Number.

D | Label new lot line from the additional road ROW with symbol and use «“ “
correct engineer scale for vicinity map. ?1500?

E | PLAT NOTES: “ “
#1) Use correct notation for flood zone and restriction.
#2) Setbacks:

o Side 15 or esmnt which ever is greater
#5) Provide a permanent BM with in subdivision (conc. Slab w/ disk)
#13) Provide correct off-street parking note restriction
—> Add the drainage detention requirement as per HCDD#1 plat note and
TxDOT driveway construction entrance.

F | 2"2 SHEET COMMENTS: as per engineer report, reword narrative « “
because as of now property does not have an existing water meter. Also
provide deadlines for proposed water meter installation.

3 (13

G | Correct minimum amount for letter of credit on installation of septic tanks.

(13 (13

H | Provide correct subdivider certificate and statement; refer to past
subdivision reviews attachments.

(13 (13

I | Provide topo elevation, natural water flow arrows and Extend topo 500’
(spot elevation are acceptable

J | TxDOT driveway permit will be require for lot entrances from FM 2062
(Bentsen Palm Drive)

K | Please show and dimension existing street condition for Bentsen Palm
Drive.

L | Correct drainage swale cross section detail and cost estimate chart.

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


