	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
January 10, 2007

RE:
Moreno Subdivision Phase 3 – Pct. 4

Preliminary Approval 
Moreno Subdivision Phase 3 is an eighteen (18) lot subdivision located on the North side of Rogers Road and approximately 626.66 West of Depot Road.

The proposed Subdivision lies within the City of McAllen E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on October 11, 2005.  The proposed subdivision lies within a Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Rogers Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis Test were conducted by Lisandro Hernandez and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing six (6) inch waterline on North Depot Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on January 09, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of McAllen.

[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Moreno Phs 111 3"1 Review

Page

1of1l

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A 15T SHEET COMMENTS: 01-05-07 JRT
Provide a utility esmnt of 15 feet minimum inside subdivision boundary.
B | Label solid line on vicinity map and correct city of Mcallen population as per “ “
2005 census.
C PLAT NOTES: “ “

#4) correct sheet number referencing drainage design
#8) Provide a 2™ permanent BM with subdivision (conc. Slab w/ disk)
#15) note need to refer to city of Mcallen engineer Department

+SPANISH PLAT NOTES ON 2" SHEET NO LONGER REQUIRE+

D 2"" SHEET COMMENTS: “ “
Correct owners name on subdividers certification and statement.

E | Provide HCROW permit for the extension of proposed water line inside “ “
county road ROW,

F 3*0 SHEET COMMENTS: “ “
Provide engineer certification on drainage report. (see attach sample)

G | Extend topo 500 feet (spot elevation are acceptable) towards the south side of “ “

subdivision.

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


