	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
January 17, 2007

RE:
Alarcon Subdivision – Pct. 4

Final Approval 
Alarcon Subdivision is an eight (8) lot subdivision located on the South side of Wisconsin Road, approximately 660 feet East from Alamo Road.

The proposed Subdivision lies within the City of Edinburg E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on November 28, 2005.  The proposed subdivision lies within Zone “B” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Wisconsin Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Raul Palma, P.E. and approved by the Hidalgo County Environmental Health Department.  All septic tank systems have been installed, inspected and can be expected to function satisfactorily.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on Rancho Villa Drive and a two (2) inch waterline along Wisconsin Road that will serve as the primary source of water for the proposed development.

The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on December 28, 2005.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code. 

The Hidalgo County Advisory Board convened and recommended Final Approval on January 09, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


