	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
January 24, 2007

RE:
A. Cantu Subdivision – Pct. 4

Preliminary Approval 
A. Cantu Subdivision is a two (2) lot subdivision located Northwest corner of the intersection with Skinner Road and Rogers Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on December 28, 2006.  The proposed subdivision lies within a Zone “AH” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Skinner Road and ten (10) feet on Rogers Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing three (3) inch waterline on Skinner Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on January 23, 2007 subject to staff comments, future recommendations by Planning and other departments. 

[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: A. CANTU Z“d Review Page 1ofl

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 01-12-07 | JRT
All utility esmnt should be of minimum of 15 feet. »
B | PLAT NOTES: correct numerical sequences « “
#1) provide complete flood zone “AH” description and determined BFE elev.
#5) Is being repeated.

#8) Provide total detention calculation
#9) Provide a 2™ Permanent BM with in subdivision (conc. Slab w/ disk)
2additional plat notes are require see previous subd review attachments €

C | Correct subdivision location description, as per the LGC city of Edinburg ETJ, “ “
and precinct number.

D 2"° SHEET COMMENTS: “ “
As per engineer report provide amount of 30 year letter agreement fee.

E | Correct Spanish engineer and sewage report it doesn’t coincide with English “ «
version. All water meters and OSSF have being installed.

F | Please provide report from evaluator and approval letter from HCHD (re “ «

inspection letter) for existing septic tank.

G | Correct lot dimensions for both lots 1 and 2. « «“

H | As per drainage report, why are conditions being said in accordance with the «“ “
city of Edinburg requirements policy, when subdivision property falls outside
their city limits and their city ETJ? Please verify this and correct report.

I | Why isn’t the proposed condition describing the detention area as shown on «“ «“
drainage design? Mention on report where and how will detention be
accomplished and how will detention be release to road side ditch. (provide a
x-section detail of overflow structure)

J | Provide correct flood zone “AH” description and the determined BFE ¢ “
elevation by FEMA on the Drainage Report Engineer certification.

K | Summit a set of plans to HCROW dept for their review and clearance. (Prior “ “
to receive preliminary approval.)

L | Platis subject to additional comments from Planning, Right of Way, “ “
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


