	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
January 24, 2007

RE:
Jesmer Subdivision – Pct. 3

Final Approval with Financial Guarantee

Jesmer Subdivision is a one (1) commercial and one (1) residential lot subdivision located on the West side of Conway (SH 107) approx. 1695.5 feet South of 7 Mile Road. 

The proposed Subdivision lies within the City of McAllen E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on November 17, 2006.  The proposed subdivision lies within a Zone “X” as per FEMA’s FIRM.

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis were conducted by Pablo F. Pena, Jr. and approved by the Hidalgo County Environmental Health Department.  There is one (1) existing septic tank system.

Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing twelve (12) inch waterline on Conway Avenue that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  

The Subdivider is requesting Final Approval with Financial Guarantee.  A Cash Deposit in the amount of $1,000.00 was submitted to the Planning Department and deposited into Escrow Account No. 06-1100-211-00-000-018-0-000.  The Cash Deposit will be used to secure the funds for the installation of one (1) septic tank system.
The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on January 23, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


