	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
January 24, 2007

RE:
Las Jardines Estates Subdivision – Pct. 1

Preliminary Approval 
Los Jardines Estates is a fifteen (15) lot subdivision located on the South side of Mile 13 North Road, approximately 1348.40 feet East from the intersection with FM 493

The proposed Subdivision lies within the City of Donna E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on December 05, 2006.  The proposed subdivision lies within a Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) on Mile 13 North Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF. Soil Analysis Test were conducted by Raul Palma, P.E. and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Mile 13th North Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on January 23, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Donna.

[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: LOS Jardines Estates ISt Review Page 1of1

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 01-04-06 JRT

Please provide a different subdivision name. “Los Jardines Subd” is
already in existence.

B | As per approved drainage report show location of drainage swale esmnt and «“ “
correct report on 3™ sheet to coincide with approved from HCDD#1.

C | Show ditch row width and its documentation south of subdivision boundary “ “
line.

D | Label all esmnt outside proposed subdivision “existing” on Flamingo “ “
Village Subdivision. Also label existing NAWSC exclusive esmnt.

E | Verify with city of Donna if mayor will require signing on subdivision plat “ «“
and update all signature certification to 2007.

F | Label POB on drawing as per METES & BOUNDS. “ “

G PLAT NOTES: “ “
#1) Rear setback should be of 15 feet or esmnt which ever is greater.

#2) mention that panel was “revised to reflect LOMR dated 05-30-02”
#13) separate both benchmarks by assigning a number and describing
location and monument used for reference. Also provide datum/elevation.
#14) complete note restriction wording.

Add a plat note stating that: “no re-subdivision of individual lots shall be
allowed”

- see attachment for additional plat notes €

H 2" SHEET COMMENTS: “ “
Label if fence will be remove or realign with property line outside esmnt on
lots 1, 2, and 15.

I | As per engineer sewage report update water and OSSF installation dates and “ “
all modification on report need to reflect on Spanish version.

J 3"° SHEET COMMENTS: - < r
Verify if mile 13 North Rd is paved or is a caliche road.

K | Show drainage swale esmnt and swale cross section detail. “ “

L | Drainage report needs to mention that panel number was revised to reflect “ “
LOMR dated 5-30-02

M | Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


