	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
January 24, 2007

RE:
Platinum Estates Subdivision – Pct. 4

Final Approval 
Platinum Estates is a nine (9) commercial lot subdivision located on the Southwest corner of Wisconsin Road and Raul Longoria Road intersection. 

The proposed Subdivision lies within the City of Edinburg E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on November 07, 2006.  The proposed subdivision lies within Zone “B” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate fifteen (15) feet on Raul Longoria Road and twenty (20) feet on Wisconsin Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by North Alamo Water Supply Corporation.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on Raul Longoria that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  

The Hidalgo County Advisory Board convened and recommended Final Approval on January 23, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


