	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator
DATE:
February 07, 2007

RE:
Claudia/Jorge Subdivision – Pct. 3

Final Approval with Financial Guarantee
Claudia/Jorge Subdivision is a two (2) lot subdivision located approximately 3/4 miles North of the intersection of Stewart Road and Mile 7 North Road.

The proposed Subdivision lies within the City of McAllen E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on October 19, 2006.  The proposed subdivision lies within a Zone “X & A” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on North Stewart Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Tests were conducted by Rene Gonzalez, P.E. and approved by the Hidalgo County Environmental Health Department.  There is one (1) existing septic tank system.

Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing eight (8) inch waterline on North Stewart Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  

The Subdivider is requesting Final Approval with Financial Guarantee.  A Cash Deposit in the amount of $1,000.00 was submitted to the Planning Department and deposited into Escrow Account No. 07-1100-211-00-000-018-0-000.  The Cash Deposit will be used to secure the funds for the installation of one (1) septic tank system.
The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on February 12, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


