	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator
DATE:
February 7, 2007

RE:
Tierra Norte Subdivision – Pct. 1

Final Approval
Tierra Norte Subdivision is a thirty (30) lot subdivision located on the North side of Mile 13 ½ North Road, approximately 1720 feet West of its intersection with FM 1015.

The proposed Subdivision lies within the City of Weslaco E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on July 12, 2005.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate forty (40) feet on Mile 13 ½ North Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis were conducted by Isaac Mata and approved by the Hidalgo County Environmental Health Department.  All septic tanks have been installed, inspected and can be expected to function satisfactorily.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on Mile 13 ½ North Road that will serve as the primary source of water for the proposed development.

The Subdivision received Preliminary approval from the Hidalgo County Commissioner’s Court on August 09, 2005.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  

The Hidalgo County Advisory Board convened and recommended Final Approval on February 12, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


