	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
February 21, 2007
RE:
Alamo Crossing Subdivision – Pct. 2

Preliminary Approval 
Alamo Crossing Subdivision is an eleven (11) lot subdivision located approximately208 feet West from the intersection with Alamo and Minnesota Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on January 17, 2007.  The proposed subdivision lies within Zone “B” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Alamo Road and twenty (20) feet on Minnesota Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Alamo Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on February 20, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]‘ LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Alamo Crossing 15 Reyiew

Page

1of2

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the

log number on the document. If needed use more than one line for the description.

Item
Log | Description of Item

Date

Logger’s
Initials

15T SHEET COMMENTS:

Label additional road ROW dedicated by this plat for Minnesota and Alamo
Road.

01-24-07 JRT

Correct south adjoining property owners legal description by mentioning John
Cardenas and A. Fonseca Subdivisions with volume and page.

Label if existing 12” valve will be remove, and also verify if theirs irrigation
line or esmnt crossing subdivision property.

Verify with NAWSC if they have a concern with the common access parking
esmnt overlapping their exclusive esmnt.

i

114

PLAT NOTES:
#2) SETBACKS:

¢ Front shall be 50 feet on lots fronting Alamo Rd

e Rear should be 15 feet or esmnt which ever is greater.
#5) provide a permanent BM with in subdivision (conc. Slab w/disk & datum)
#15) provide new updated note wording restriction. (see attachment)

#17) Add the following to this note, “and shall have only one common
driveway access for lots 12 thru 14.”
-2 see attachment for additional plat note regarding TxDOT drive way permits

and also add a plat note restricting access entrance on to lots 1 and 11 from
Minnesota Rd, €<

[13

As per location subdivision description please provide approximate distance

from Minnesota and Alamo Road intersection and correct LGC for the city 1
mile ETJ.

Correct index to sheet information: HCDD#1 and HC 1rr1gat1on dist. #2 for

sheet one, water and ossf distribution layout for sheet 2 and construction |
details for sheet 3.

2" SHEET COMMENTS: |
TxDOT and HCROW permit for water line crossing is required prior to
receive preliminary approval.

(1%

(19

[14

Verify if HCROW dept if they have a concern with extending the prop. Water
line with in Minnesota Road ROW.

|

(19

Complete engineer report with construction amounts for water facilities, 30
year agreement with NAWSC and water meters installation dead lines.

-

113

3"" SHEET COMMENTS:
Extend topo elevation 500 feet toward the north and west side of this
subdivision property.

(13

TxDOT driveway permit is require for access from FM 907.

(1%

[13

Label for contractor to re-grade Alamo Road side ditch.

(194

—

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


