	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
February 21, 2007

RE:
La Joya ISD No. 22 Subdivision – Pct. 3

Preliminary Approval 
La Joya ISD No. 22 Subdivision is a one (1) school lot subdivision located on the Southeast corner of Mile 4 Road and Liberty Blvd.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on June 22, 2006.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty two (22) feet on Blue Jay Avenue and twenty two (22) feet on Mile 4 Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  
Water Services will be provided by La Joya Water Supply Corporation.  There is an existing eight (8) inch waterline along Liberty Blvd. that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on February 20, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]21107
LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW
Name of Subdivision: La Joya L.S.D. Elementary School No.22 4™ Review Page 1of1
Logger’s
Log | Description of Item Date J Initials
T SHEET COMMENTS: 01-03-06 JRT
Label who does gas line belongs to, and also label if gas esmnt is existing
(provide doc. #) or being dedicated by plat.

Tie down detention esmnt. “

Update all signature certification to 2007. . “

Rear side setback should also be 25 feet adjacent to Blue Jay Ave. (add to «“
setback restriction note)

| 2"’ SHEET COMMENTS: “
Submit NOI application & certify receipt.
Provide ROW Permit approval letter for water line crossing. “

Provide 1/3 escrow for mile 4 road. «

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval

s . oh WX¥17
2S5 copys /ﬁ—ﬁw

;
T
T

1





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


