	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
February 21, 2007

RE:
Linn-Tex Subdivision – Pct. 4

Preliminary Approval 
Linn-Tex Subdivision is a three (3) lot subdivision located on the East side of US Highway 281 approximately 2250 feet South of Palm Drive.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on January 21, 2007.  The proposed subdivision lies within Zone “A & C” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  
Water Services will be provided by City of Edinburg.  There is an existing two (2) inch waterline along US Hwy. 281 that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on February 20, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Linn-Tex 1%Review Page 1of1

This form lists the documents lacking during the process of seeking subdivision approval. The County official

receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Logger’s

Date Initials

1°T SHEET COMMENTS:
As per MPO US Expressway 281 is proposed to be 350 feet of road
ROW. There for additional road ROW will be require to be dedicated by
this plat. '
Please provide dimension from ROW line to center line of street and label
the total existing ROW for US expressway 281.
Show asphalt pavement width on 3™ sheet only and tie down flood zone
“A” from original property line.
Verify with TxDOT on driveway access on to subdivision. Provide a note
restriction if limited to one access.

Why is 30 feet access esmnt being provide?

01-31-07 JRT

[13

Tie down subdivision property corner to Palm Drive street intersection as “ |

describe on subdivision location description.
As per index to sheet description; add HCDD#1, Irrigation Dist, and

Engineer Certifications on (sheet 1) and Subdividers certificate and
statement on (sheet 2)

149

112

PLAT NOTES:
#2) front setback should be 50 feet

#5) Provide a 2™ BM within subdivision (permanent on a co. slab w/ disk
& elevation)

#13) complete this note: “‘and proposed improvements are constructed in
accordance with county and state standards.”

-> see attachment for additional plat note restriction:
e  Water well with in 150 feet
e Drainage swale esmnt note
¢ TxDOT driveway permit & construction note.
Provide irrigation district certification signature block. l “

(13

2" SHEET COMMENTS:
Submit a copy of soil evaluation report. 4

(13 [13

A re inspection report from HCHD will be require for all existing OSSF.

13 (13

Existing fence inside drainage swale esmnt need to be remove or relocated

along property lot line.

Correct lot water service detail to coincide with subdivision and also “ “

provide symbol for exiting water meter and correct size of ex-water lien. ‘
3"’ SHEET COMMENTS: “

TxDOT driveway permit are require prior to subdivision approval and

extend topo elevati500 feet towards the east side of subdivision.

[13





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


