	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
February 21, 2007

RE:
MGM Grand Ranches Phase 4-B – Pct. 4

Final Approval with Financial Guarantee
MGM Grand Ranches Phase 4-B is a twenty five (25) lot subdivision located on the South side of Curry Road, approximately 1243 feet East from Alamo Road.
The proposed Subdivision lies within the City of Edinburg E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on December 07, 2005.  The proposed subdivision lies within Zone “X Shaded” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Curry Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Raul Palma, P.E. and approved by the Hidalgo County Environmental Health Department.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on Curry Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  

The Subdivider is requesting Final Approval with Financial Guarantee.  A Cash Deposit in the amount of  $25,000.00 was submitted to the Planning Department and deposited into Escrow for Septic Tanks Account No. 07-1100-211-00-000-018-0-000.  The Cash Deposit will be used to secure the funds for the installation of twenty five (25) septic tank systems. 
The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on February 20, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


