	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
February 21, 2007

RE:
Maiz Acres No. 4 Subdivision – Pct. 1

Preliminary Approval 
Maiz Acres No. 4 Subdivision is a sixteen (16) lot subdivision located on the West side of Old La Blanca Road, approximately 990 feet South from Mile 11 ½ North Road.
The proposed Subdivision lies within the City of Donna E.T.J.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on August 22, 2006.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Old La Blanca Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on February 20, 2007 subject to staff comments, future recommendations by Planning and other departments and approval from the City of Donna.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Maiz Acres No.4 ].StReVieW Page 1of2

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Logger’s
Initials

Date

15T SHEET COMMENTS:
Provide street name and verify with 911 Dept Juan Gomes.

Provide owners name and documents number for all adjoining property
owners.

Verify curve length for irregular lots on curve date chart. “

02-07-06 JRT

[14 [13

D | Asper index to sheet description, include Engineer, HCDD#1, county “
judge and irrigation district certificate on sheet 1 and Sheet 2; Typ water
service connections, and owners certificate and statement.

Correct city of Donna population as per 2005 census and update all
signature blocks to 2007.

(13

[11

PLAT NOTES:
#5) provide a 2 BM permanent w/ in subd1v151on (concrete slab w/ disk,
elevation and datum)

- —>add the following plat notes: drainage swale esmnt restriction and
restrict access on to lots 1&16 from Old La Blanca Rd.
2" SHEET COMMENTS:
Provide HCROW water line crossing permit on Old La Blanca Rd.

Provide flange elevation for all proposed fire hydrants and correct lot
numbers on dual service typ detail.

Show existing canal Row width and documentation.

[13

[13

[13

[13

Show if theirs any existing irrigation line crossing the property as per 24”
CSP on the SE comet of prop. Lot 1.

Please label symbol on prop. Street ROW subdivision entrances, and -
remove if it will interfere with traffic flow.

Please provide notary public certification acknowledgment on subdividers
certificate and statement.

As per engineer report, correct description location of existing and
proposed water line, to coincide with water distribution design.

Submit soil evaluation reports to our office to verify highlight report.

€<

[13

113

43

(23

Provide all total amount and dead lines for installation dates on engineer
and sewage report prior to final review.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


