	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
March 13, 2007

RE:
Corin Estates Phase 2 Subdivision – Pct. 4

Preliminary Approval 
Corin Estates Phase 2 is an eleven (11) lot subdivision located approximately 309 feet North of S.H. 107 and approximately 660 feet West of Valverde Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on February 20, 2007.  The proposed subdivision lies within Zone “X & AH” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on Corin Avenue that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on March 06, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]Name of Subdivision:

LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Corin Estates Phs II 1%Review

Page

1ofl

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials

#

A 1°T SHEET COMMENTS: 02-27-07 JRT
Show location of esmnt requested by NAWSC on drawing.

B | As per index to sheet description: add HCID#1, HCDD#1, and engineer “ “
certification on sheet 1, and add the subdivider certificate and statement on
the 2™ sheet.

C PLAT NOTES: “ «
#1&18) Correct lot # assignation 3 thru 13.
#6) Modify plat note restriction and incorporate note #18 to note.
#15) add the following to the end of the paragraph: “and proposed
improvements are constructed in accordance with county and state”

see attachment for additional plat notes for a special OSSF design

located with in flood zone.

D METES & BOUNDS: « “
Label POB on drawing as described and correct 3™ callout monuments
description, drawing show set when metes and bounds read “found”

E | Update signature certification to 2007.

F 2" SHEET COMMENTS: “ “
Provide flange elevation for all proposed fire hydrants.

G | Provide all total amount and dead line for all water meters and OSSF
installation dates prior to final plat (mylar).

H 3"° SHEET COMMENTS: “ “
Street with in flooding areas that exceeds natural ground more than 2 feet
shall utilize class “A” paving.

I | Show pad sites of 50x50 with finish floor elevation, and extend topo elev. « “
500’ toward the north and east of property.

J | Provide approved drainage report by HCDD#1 on this sheet and show typ «“ “

“A” street cross section pavement.

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


