	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
March 13, 2007

RE:
Los Rosales Subdivision – Pct. 1

Preliminary Approval 
Los Rosales Subdivision is a one (1) lot subdivision located on the West side of FM 491, approximately 543 feet North of Mile 14 North Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on February 20, 2007.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate 20.70 feet on FM 491 Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing sixteen (16) inch waterline on FM 491 that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on March 06, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Los Rosales 1% Review Page 1ofl

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Imitials
#
A 1°" SHEET COMMENTS: 02-23-07 JRT

Label POB, and provide utility esmnt and drainage swale esmnt as
describe on approved drainage report.

B | Show total existing road ROW and dimension from center line to ROW “ “
line.

C | Asper index to sheet description; add the county judge, HCDD#1, «“ “
HCID#9 and engineer certification on sheet one, and add the subdivider
certificate and statement and lot detail to sheet 2.

D | Correct street name, distance to property, and verify if property lies within «“ ¢
city of La Villas ETJ on location description and provide north arrow on
vicinity map.

E PLAT NOTES: ¢ «
#1) mention that panel was “revised to reflect LOMR dated 05-30-02
#5) Provide a 2™ BM with in subdivision (co. slab w/ disk)

Add the following plat note restrictions:

1. Drainage swale esmnt
2. No water well with in 150 feet
3. Septic tank facilities
4. Owners & subdivider
F - 2"P SHEET COMMENTS: “ «

As per engineer report re word 3™ sentence to read “is currently existing
and operable” and provide amount from water provider agreement.

G | A re inspection report will be require for existing OSSF from HCHD and “ «“
submit a copy of evaluation report to our office.

H | Submit a set of plan to ROW dept for their review and clearance. Theirs “ “
existing 36”gatwell with in road ROW.

I 3"" SHEET COMMENTS: “ «“
Extend topo elevation 500° and show natural water flow arrows.

J | Provide approved drainage report on this sheet. « «“

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


