	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
March 13, 2007

RE:
Maiz Acres No. 3 Subdivision – Pct. 1

Final Approval 
Maiz Acres No. 3 is a fifteen (15) lot subdivision located on the North side of Sioux Road, approximately ¼ mile East of its intersection with Valverde Road (FM 1423).

The proposed Subdivision lies within the City of Donna E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on September 22, 2005.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate ten (10) feet on Sioux Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Environmental Health Department.  All septic tanks were installed, inspected and can be expected to function satisfactorily. 

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Sioux Road that will serve as the primary source of water for the proposed development.

The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on February 14, 2006.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  

The Hidalgo County Advisory Board convened and recommended Final Approval on March 12, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


