	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
March 13, 2007

RE:
Oak Hill Ranch Phase I Subdivision – Pct. 1 


Final Approval with Financial Guarantee
Oak Hill Ranch Phase I is a fifty two (52) lot subdivision located on the Northwest corner of Mile 20 North Road and FM 88 Road.
The proposed Subdivision lies within the Rural area of the County.
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on July 12, 2006.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Mile 20 North Road, ten (10) feet on FM 88 and twenty (20) feet on Mile 21 North Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Aniceto Izaguirre and approved by the Hidalgo County Environmental Health Department.  

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on FM 88 Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  
The Subdivider is requesting Final Approval with Financial Guarantee.  Letter of Credit No. 012307 in the amount of $52,000.00 was submitted to the Planning Department and addressed to the County Judge and County Commissioner’s Court.  The Letter of Credit will be used to secure the funds for the installation of all septic tank systems.

The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on March 12, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


