	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
March 13, 2007
RE:
Sahara Estates No. 2 Subdivision – Pct. 4

Preliminary Approval 
Sahara Estates No. 2 Subdivision is a twenty one (21) lot subdivision located 1320 feet North from Alberta Road and 1329 feet East from Tower Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on February 20, 2007.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Haven Lane that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on March 06, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Sahara Estates No.2 1%Review Page 1ofl

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 02-28-07 JRT

Verify if the Elma Lozano Tract east adjoiner is land lock or show how his
property is having access. Also verify the size of said tract because it does
not appear to be ' acre.

B | Label end point of straight line and beginning of curve for front lot line of « ¢
lot #7 and label all cul-de-sac radius.

C | Verify “L7” corner clip dimension with “line data table” it does not «“ “
coincide.

D | Label the proposed 50 foot road ROW and move all rear lot dimensions, “ “
near the lot line.

E | Provide lot site plans for lots 12 & 16 and verify esmnt labeling «“ “
(utility/swale) on lots 16 thru 21.

F | Show existing 20 foot HCID#2 Exclusive esmnt south of lots 1 and 21, “ “
and also label existing irrigation esmnt towards the north west corner of
Sahara Estates Phs L.

G | Provide adjoiners info (name and doc.#) for Justo Villareal, and east “ «“
property of Elma Lozano (refer to red lines)

H | Asper index to sheet provide the engineer certification on sheet 1 “ ¢

I PLAT NOTES: » «“ «
#5) Show BM on drawing.
#6) show detention calculation (cubic/acre feet)

J | Show exclusive NAWSC esmnt on drawing if requested by NAWSC and “ “
provide metes and bounds.

K 2" SHEET COMMENTS: « “
Why is the 12” valve being proposed outside the subdivision boundaries?
Should it be installed inside the irrigation esmnt?

L | Submit soil evaluation report to our office, and complete it engineer report. “ ¢

M | All total amounts for water & OSSF shall be provide prior to final review “ “
mylar plat, together with the deadlines of OSSF and water meter
installation dates.

N | Provide notary public certification acknowledgment on subdivider * “
certification and statement.

0 3"" SHEET COMMENTS: “ “
Extend topo elevation 500’ towards the north and show natural water
floow arrows.

P | Topo elevation are not legible, please clarify and provide NOI application “ “
copy and submit set of plan to ROW dept for their review

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


