	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
March 13, 2007
RE:
Watson Heights Subdivision – Pct. 3

Final Approval 
Watson Heights is a thirty four (34) lot subdivision located on the West side of Watson Road, approximately 3300 feet South of its intersection with Business 83.

The proposed Subdivision lies within the City of Mission E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on May 16, 2003.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate ten (10) feet on Watson Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan.

Sanitary Sewer Services will be provided OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Environmental Health Department.  All septic tanks were installed, inspected and can be expected to function satisfactorily. 

Water Services will be provided by La Joya Water Supply Corporation.  There is an existing twelve (12) inch waterline on Watson Road that will serve as the primary source of water for the proposed development.
The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on June 24, 2003.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  

The Hidalgo County Advisory Board convened and recommended Final Approval on March 06, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


