	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
April 4, 2007
RE:
Lori Ann Acres Subdivision – Pct. 3

Final Approval 
Lori Ann Acres is a (1) lot subdivision located on the West side of Moorefield Road, approximately 2640 feet South of FM 1924.
The proposed Subdivision lies within the City of Mission E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on May 04, 2006.  The proposed subdivision lies within a Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate fifteen (15) feet on Moorefield of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by the City of Mission.
Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing four (4)  inch waterline on Moorefield Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat received Preliminary Approval from the Hidalgo County Commissioner’s Court on November 14, 2006.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code. 
The Hidalgo County Advisory Board convened and recommended Final Approval on April 03, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


