	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
April 4, 2007
RE:
Lugo Subdivision – Pct. 1

Preliminary Approval 
Lugo Subdivision is a two (2) lot subdivision located on the South side of Mile 11 North Road, approximately ¼ mile East from FM 493.
The proposed Subdivision lies within the City of Donna E.T.J. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on December 14, 2005.  The proposed subdivision lies within a Zone “X & AH” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate thirty (30) feet on Mile 11 North Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Environmental Health Department.  
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing two (2) inch waterline on Mile 11 North Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on April 03, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Donna.

[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision LUGO SUBDIVISION 3™ Review Page 1

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
# |
A | ’T SHEET COMMENTS: verify if a 15’ exclusive esmnt is require by 03-30-06 JRT

N.A.W.S.C. and also label acres size as net or gross for lot 1 and 2.

B | PLAT NOTES: #1 Provide (BFE) determined from FEMA and submit letter “ “
to our office. #5 provide NGVD and a permanent BM with in subd. (conc.
Slab w/ disk) #13 add wording to note “drainage report” and see attachment
for missing note as per owners statement for page 2.

C | 2*° SHEET COMMENTS: tie down ex-trailer house, septic tanks, and flood “ “
zone division line from property line.

D | Verify with H.C.H.D. if a re-inspection report would be need it for ex-septic “ “
tanks.

(13 (13

E | According to this layout septic tanks and trench are encroaching on to lot #2,
staff recommends to re design lot #2 to the north side. (refer to redlines)

F | Check with R.O.W. Dept. for all structures with in street right of way. «“ “
Provide 1/3 escrow for ex-caliche road on Mile 11 North.

G | Label for contractor to re-grade Mile 11 North Road side ditch. “ “

(13 (13

H | As per engineer report refer all facilities construction, and fees amounts to lot
#2 and as per certification: provide amount for facilities fully constructed and
also to reflect on const estimate chart.

I | Reverse heading of sewage description and high lights of report (refer to “ “
redlines) verify amount for prop. OSSF for lot 2,

J | Provide general permit to discharge from construction activities. (see attach “ i “
memo) ‘
FK All modification on General plat notes and Engineer report shall reflect on “ “
_| Spanish version.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


