	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
April 4, 2007
RE:
Matthew Subdivision – Pct. 4

Final Approval 
Matthew Subdivision is a one (1) lot subdivision located on the East side of Valverde Road, approximately ¼ mile North of SH 107.
The proposed Subdivision lies within the Rural Area of the County. 
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on November 18, 2006.  The proposed subdivision lies within a Zone “AH” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate forty (40) feet on Valverde Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  Soil Tests were conducted by Ricardo Caballero, Jr. and approved by the Hidalgo County Environmental Health Department.  The septic tank system has been installed, inspected and can be expected to function satisfactorily.
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Valverde Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat received Preliminary Approval from the Hidalgo County Commissioner’s Court on December 19, 2006.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code. 

The Hidalgo County Advisory Board convened and recommended Final Approval on April 03, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


