	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
April 4, 2007

RE:
Re-subdivision of Lot 4, Little Prairie Subdivision – Pct. 4

Preliminary Approval 
Re-subdivision of Lot 4 out of Little Prairie Subdivision is a two (2) lot subdivision located on the South side of Valdez Street, approximately 660 feet East from Engelman Garden Road.

The proposed Subdivision lies within the Rural Area of the County.
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on January 29, 2007.  The proposed subdivision lies within a Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate ten (10) feet on Valdez Street of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Sewer Services will be provided by OSSF.  
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing four (4) inch waterline on Valdez Street that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on April 03, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision:  Re-Subdivision of lot 4 out of Little Prairie Page  1ofl
Subdivision. 2" Review

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Imitials
#
A 15T SHEET COMMENTS: 03-30-07 | JRT
Provide owners name and Doc# for all adjoining properties. |
B | Show distance dim. Tie down from the street intersection of Engelman Garden “ “
Rd. to subdivision property corner. (Refer to redlines.)
C PLAT NOTES: “ “
#8) provide date on item “D” soil report information.
D 2"’ SHEET COMMENTS: “ “

Show location of existing gas line and emsnt width with its document number
on the north section of this subdivision.

E | Existing fence along the east side of this subdivision will need to be remove “ “
outside utility esmnt and re align with property line.

F | As per engineering report mention the existing water meter on lot 4A and if it “ «
will be replace with propose dual service.

G | Provide all amounts prior to final review for original mylar plat. “ “

H | Use correct subdivider statement it does not coincide with sewage report, and “ «

I correct subdivision name.

I | All modification on engineer and sewage report need to reflect on Spanish “ “

version.
| VCISIOb
J | Plat is subject to additional comments from Planning, Right of Way, “ “
Health, and HCDD No. 1 prior to consideration for final approval.
K (13 (13
L 13 113
M 1 13





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


